MANUFACTURER

Weather Shield Mfg., Inc.

One Weather Shield Plaza

P.O. Box 309

Medford, WI 54451-0309

Phone:   1-800-538-8836

Fax:  1-800-390-1225

E-mail:  archservices@weathershield.com

CSI PRODUCT SPECIFICATION

Specifier note:  This CSI product specification is written using the Construction Specifications Institute (CSI) Manual of Practice (Fifth Edition), including MasterFormat™, SectionFormat™ and PageFormat™.

Specifier note:  Information contained in this CSI product specification is accurate as of January 2019.  Due to ongoing product changes, this information is subject to change.  Consult manufacturer for complete product details.

PART 1 GENERAL

1.1	SECTION INCLUDES

- Vinyl Casement Picture Windows.

- Glazing.

- Accessories.

1.2	RELATED SECTIONS

- Section 01 33 00 – Submittal Procedures.

- Section 01 65 00 – Product Delivery Requirements.

- Section 01 66 00 – Product Storage and Handling Requirements.

- Section 06 10 00 – Rough Carpentry.

- Section 06 20 00 – Finish Carpentry.

- Section 07 90 00 – Joint Protection.

- Section 08 80 00 – Glazing.

1.3	REFERENCES

- American Society for Testing and Materials (ASTM):

- ASTM C1036 - Standard Specification for Flat Glass.

- ASTM C1048 - Standard Specification for Heat-Treated Flat Glass – Kind HS, Kind FT Coated and Uncoated Glass.

- ASTM E283 - Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls and Doors Under Specified Pressure Differences Across the Specimen.

- ASTM E330 - Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference.

- ASTM E547 - Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors and Curtain Walls by Cyclic Static Air Pressure Difference.

- ASTM E1300 – Standard Practice for Determining Load Resistance of Glass in Buildings.

- ASTM E2190 - Standard Specification for Insulating Glass Unit Performance and Evaluation.

- ASTM F588 - Standard Test Methods for Measuring the Forced Entry Resistance of Window Assemblies, Excluding Glazing Impact.

- American Architectural Manufacturers Association/Window and Door Manufacturers Association/Canadian Standards Association (AAMA/WDMA/CSA):

AAMA/WDMA/CSA 101/I.S.2/A440-11/NAFS – North American Fenestration Standard/Specification for Windows, Doors and Skylights

- American Architectural Manufacturers Association/Window and Door Manufacturers

Association/Canadian Standards Association (AAMA/WDMA/CSA):

      - AAMA/WDMA/CSA 101/I.S.2/A440-08/NASF – North American Fenestration Standard/Specification for Windows, Doors and Skylights.

- American Architectural Manufacturers Association (AAMA):

AAMA 450 – Voluntary Performance Rating Method for Mulled Fenestration Assemblies.

- Window and Door Manufacturers Association (WDMA):

- WDMA I.S.2 – Hallmark Certification Program.

- WDMA I.S. 4-05 – Industry Standard for Water Repellent Preservative Non-Pressure Treatment for Millwork.

- National Fenestration Rating Council (NFRC):

- NFRC 102 - Procedure for Measuring the Steady-State Thermal Transmittance of Fenestration Systems.

- NFRC 200 - Procedure for Determining Fenestration Product Solar Heat Gain Coefficient and Visible Transmittance at Normal Incidence.

- NFRC 500 - Procedure for Determining Fenestration Product Condensation Resistance Values.

- ENERGY STAR® Compliant Models available.

- Insulating Glass Certification Council (IGCC).

- Safety glass tested in accordance with ANSI Z97.1.

  - PERFORMANCE REQUIREMENTS

Specifier note:  Higher test results may be achieved using high performance options and/or smaller sizes.  Specific testing is dependent upon size and options.  For further information contact your Weather Shield territory manager.

- Design and performance requirements:

      - Casement Picture windows shall be Hallmark certified in compliance with

AAMA/WDMA/CSA 101/I.S.2/A440-11 and AAMA/WDMA/CSA 101/I.S.2/A440-08:

[CW-PG50-FW (CP11-96x85 call-out size tested)]

- Air infiltration shall not exceed 0.30 cfm/ft2 (1.5 L/s•m2) when tested at 1.57 psf [75 Pa]

according to ASTM E283.

- No water penetration when tested at the following pressure according to ASTM E547:

[CW-PG50-FW - 7.50 psf (360 PA)]

- Casement Picture windows must withstand the following positive/negative structural test

pressure without damage when tested according to ASTM E330:

[CW-PG50-FW - +75.0 / -75.0 psf (+3600/-3600 Pa)]

- Casement Picture windows must pass a forced entry resistance test of at least Level 10 to

meet requirements set forth in ASTM F588.

  - SUBMITTAL PROCEDURES

- Shop drawings:  submit shop drawings according to Section 01 33 23 – Shop Drawings, Product Data and Samples.

- Product data:  submit manufacturer's product catalog data and installation guides.

- Samples:  submit samples including the following:

- Corner cutaway:  submit corner cutaway, including glazing system, quality of construction and specified exterior/interior finishes.

- Exterior:  submit color samples of exterior color finishes.

- Quality control reporting:  submit manufacturer’s test results reported by independent laboratory indicating compliance with specified performance and design requirements, as listed in 1.4 Performance Requirements, according to Section 01 33 26 – Source Quality Control Reporting.

1.6	QUALITY ASSURANCE

- Single source responsibility:  Except for some insulated glass, the window manufacturer is responsible for fabrication of all components and materials including assembly of some insulating glass and manufacture of all frames.

  - PRODUCT DELIVERY REQUIREMENTS

- Comply with the product delivery requirements specified in Section 01 65 00 - Product Delivery Requirements.

  - PRODUCT STORAGE AND HANDLING REQUIREMENTS

  - Comply with the requirements for storage and handling of products as specified in            Section 01 66 00 – Product Storage and Handling Requirements.

  - Store units in a dry location, off the ground, under cover, protected from weather and construction activities.

1.9	WARRANTIES

- Workmanship and materials: Limited lifetime (residential applications) /

10-year limited warranty (commercial applications).

- Insulating glass:  20-year warranty.

- Painted Finishes on Vinyl (limited availability) – 10-year warranty

PART 2 PRODUCTS

2.1	MANUFACTURED UNITS

- Visions 3500® Casement Picture (9203) windows as manufactured by Weather Shield Mfg., Inc. of Medford, Wisconsin.

2.2	VINYL CASEMENT PICTURE WINDOW MATERIALS

- Frame:

- Frame members shall be manufactured from .079” [2mm] extruded unplasticized polyvinylchloride (uPVC).  Frame corners shall be fusion welded and cleaned.  Frame extrusion shall be designed to include no less than six individual chambers.

- Frame shall have standard jamb depth of 2” [51mm] with integral nailing fin and an overall profile thickness of 3-1/4” [83mm].

- Frame to include integrated simulated sash.

- Option:  [exterior accessory groove filler] [interior accessory groove filler].

- Option:  frame provided with jamb extensions up to and including 7-5/8” [194mm] jamb depth [factory applied (standard)] [shipped loose].  Jamb extensions [pine (standard)] [oak] [composite] [vinyl drywall jamb extension].

- Finish:

      - Integral finish:  [white] [tan] [cameo] [desert tan] [heritage brown].

      - Option (limited availability): Exterior painted: solar reflective two-package polyurethane enamel meets AAMA 614 requirements. Colors:  [white] [adobe] [cameo] [desert tan] [tan] [hartford green] [jet black] [craftsman bronze] [brick red] [heritage brown] [50 designer colors] [custom color as selected by the architect]. Interior finish: [white (standard)] [tan] [cameo].

- Glazing:  select quality complying with ASTM C1036.  Insulating glass IGCC certified to performance level CBA when tested in accordance with ASTM E2190.

- Glazing method:

a.   Insulated glass consisting of two lites of clear [annealed (standard)] [tempered] glass.

b.   Triple insulated glass consisting of three lites of clear [annealed (standard)] [tempered]

glass.

- Glass type:

[Clear (standard)]

[Low E 272 sputter coat applied on number two surface]

[High-performance Low E:  insulated glass consisting of one lite sputter coat Low E 366 applied on the number two surface and one lite clear glass with warm-edge spacer system and argon gas in airspace].  Optional: [pyrolytic Low E applied on number four surface].

[High-performance Low E laminated:  insulated glass consisting of one lite sputter coat Low E 366 applied on the number two surface and one lite of clear laminated glass with .030” polyvinyl butyral interlayer with warm-edge spacer system and argon gas in airspace].  Optional: [Safeguard] [SafeGuard Certified].

[High-performance triple insl Low E:  triple insulated glass consisting of one lite sputter coat Low E 366 applied on the number two surface, one lite of sputter coat Low E 272 applied on the number five surface and one center lite of clear glass with warm-edge spacer system and argon gas in two airspaces].

[Specialty glass:  [obscure] [bronze] [gray] [other as selected by the Architect]]

- Insulated glass airspace:

[Air (standard)]

[Argon gas]

[Altitude adjusted (not available with argon gas)]

- Insulated glass shall be sealed with a [gray (standard)] [charcoal shadowline] warm-edge spacer system with integrated edge seal and foil laminate moisture vapor barrier.

- Glass shall be siliconed at sash exterior to allow reglazing from the interior.

Optional accessories. Edit as required.

- Between-the-glass grilles:

      - Aluminum grilles in sealed airspace:  [5/8" (16mm) flat] [11/16" (17mm) sculptured]

      - [15/16" (24mm) sculptured].

      - Pattern:  [rectangular] [marginal] [diamond (5/8” (16mm) flat only)] [custom configuration as noted on drawings (lite cut subject to approval of Weather Shield)].

      - Color: [white] [adobe] [cameo] [desert tan] [tan] [hartford green] [jet black] [craftsman bronze] [brick red] [heritage brown].

      - Optional finishes: two-tone [5/8” (16mm) flat] [11/16” (17mm) sculptured].  Color: [adobe/white interior] [cameo/white interior] [desert tan/white interior] [tan/white interior] [hartford green/white interior] [jet black/white interior] [craftsman bronze/white interior] [brick red/white interior] [heritage brown/white interior] [obsidian/white interior].

- Simulated divided lites:

      - Exterior and interior vinyl muntins adhered to glass with double-coated acrylic foam tape, 7/8” [22mm] profile.

      - [Adobe aluminum grilles-between-the-glass] [no grilles-between-the-glass].

      - Pattern: [rectangular] [marginal] [custom configuration as noted on drawings (lite cut subject

to approval of Weather Shield)].

      - Finish:  to match interior/exterior sash.

- Mullions:

      - Factory-mulled units shall include ½” [13mm] exterior vinyl spread mull and interior vinyl mull connector. Option: [2-piece aluminum reinforcement].

      - Color to match interior and exterior frame.

2.03   ACCESSORIES AND TRIM

- Exterior Vinyl Casings: [no casing (standard)] [7/8” (22mm) j-channel] [2” (51mm) renovation brick mould]  [5/16” (8mm) stucco adapter] [1-1/4” (32mm) brick mould with integral j-channel] [1-1/4” (32mm) brick mould with no j-channel].  Color to match exterior frame.

- Interior Universal Drywall Return Accessories:  [1/2”-5/8” (13mm-16mm)] [3/4”-7/8” (19mm-22mm)] shipped loose.  Color to match interior frame.

- Interior trim styles:  [WM327 – 2-1/4”x11/16” (57mm x17mm)] [WM356 – 2-1/4”x11/16” (57mm x17mm)] [WM366 – 2-1/4”x11/16” (57mm x17mm)] [WM376 – 2-1/4”x11/16” (57mm x17mm)] [WM351 – 2-1/2”x11/16” (64mmx17mm)] [WM444 – 3-1/4”x11/16” (89mm x17mm)] [WM445 – 3-1/4”x11/16” (89mm x17mm)] [Windsor – 3-1/2”x1-1/16” (89x27mm)] [flat – 3-1/2”x1-1/16” (89x27mm)] [flat – 2-1/4”x1-1/16” (58x27mm)].  Wood species: [pine (standard)] [oak]. Finish: [clear pine] [primed] [prefinished white latex] [stained/sealed: [clear satin] [golden oak] [fruitwood] [chestnut] [rich mahogany]].

- Wood rosettes:  [2-1/2”x2-1/2”x5/8” (64mmx64mmx16mm)] [3-5/8”x3-5/8”x5/8” (92mmx92mmx16mm)].  Wood species:  [pine (standard)] [oak]. Finish: [clear pine] [primed] [prefinished white latex] [stained/sealed: [clear satin] [golden oak] [fruitwood] [chestnut] [rich mahogany]].

PART 3 EXECUTION

3.1	INSTALLATION

- Install windows according to manufacturer's instructions and reviewed shop drawings to ensure proper installation and operation.

- Install window unit plumb, level and square with no distortion of frame members.

- Fill perimeter frame to wall opening cavity per manufacturer’s installation instructions.

- Apply approved sealant in accordance with Section 07 90 00 - Joint Protection.

3.2	ADJUSTING AND CLEANING

- Remove excess sealant materials and visible labels from glass.  Clean glass surfaces promptly after installation.

- Initiate and maintain all protection and other precautions required to ensure windows are in acceptable condition at time of substantial completion.

END OF SECTION